## Santa Rita Elementary Breakdown
Santa Rita Elementary
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all equipment and cabling. |  |  |  |  | 1 | 0
Installation | Install, configure, optimize, inventory all equipment and cabling listed. Remove and turn over to the District all replaced equipment. |  |  |  |  | 1 | 0
Network integration | Integrate all equipment into the District's present network. Take all actions necessary to make a turnkey installation of new equipment. |  |  |  |  | 1 | 0
Documentation | Provide documentation of all work, to include, equipment location, type, part number, serial number in Microsoft Visio 2003 Format |  |  |  |  | 1 | 0
UPS | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and ISF) capable of maintaining the equipment for 20 minutes |  |  |  |  | 1 | 0
Patch Panels and Racks | Install, all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution. |  |  |  |  | 1 | 0
MC - Core Switch & 24 10/100/1000 Core Service Module
WS-C4507R | Catalyst 4500 Chassis (7-Slot),fan, no p/s, Red Sup Capable |  |  |  |  | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  |  | 2 | 0
WS-X4515 | Catalyst 4500 Supervisor IV (2 GE),Console(RJ-45) |  |  |  |  | 1 | 0
WS-X4515/2 | Catalyst 4507R Redundant Supervisor IV,(2 GE),Console(RJ-45) |  |  |  |  | 1 | 0
S4KL3K9-12220EWA | Cisco IOS BASIC L3 Cat4500 SUP2+/4/5,3DES(RIP,St.Rts,IPX,AT) |  |  |  |  | 1 | 0
WS-X4506-GB-T | Catalyst 4500 6-Port 10/100/1000 PoE or SFP (Optional) |  |  |  |  | 2 | 0
WS-X4424-GB-RJ45 | Catalyst 4500 24-port 10/100/1000 Module (RJ45) |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 5 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 5 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
Rack | NEW RACK REQUIRED |  |  |  |  | 1 | 0
Voice Gateway Router
CISCO2811-SRST/K9 | 2811 Voice Bundle w/ PVDM2-16,FL-SRST-36,SP Serv,64F/256D |  |  |  |  | 1 | 0
S28NUESK9-12308T | Cisco 2800 IOS SPSK9-ESK9 FEAT SET FACTORY UPG FOR BUNDLES |  |  |  |  | 1 | 0
VIC-4FXS/DID | 4 port FXS or DID VIC |  |  |  |  | 1 | 0
VIC2-4FXO | Four-port Voice Interface Card - FXO (Universal) |  |  |  |  | 1 | 0
PWR-2811-AC-IP | Cisco 2811 AC/IP power supply |  |  |  |  | 1 | 0
CAB-AC | Power Cord,110V |  |  |  |  | 1 | 0
FL-SRST-36 | Feature Lic Survivable Remote Site Telephony up to 36 phones |  |  |  |  | 1 | 0
ROUTER-SDM | Device manager for routers |  |  |  |  | 1 | 0
PVDM2-16 | 16-Channel Packet Voice/Fax DSP Module |  |  |  |  | 1 | 0
MEM2800-256D-INC | 256MB DDR DRAM Memory factory default for the Cisco 2800 |  |  |  |  | 1 | 0
MEM2800-64CF-INC | 64MB CF default for Cisco 2800 Series |  |  |  |  | 1 | 0
Campus Voice Mail User Licenses
UNITY-VM-USR | One Unity VM User |  |  |  |  | 59 | 0
Campus Call Manager User Licenses
SW-CCM-UL-7960= | Call Manager Unit License for 7960 |  |  |  |  | 3 | 0
SW-CCM-UL-7940= | Call Manager Unit License for 7940 |  |  |  |  | 0 | 0
SW-CCM-UL-7920= | Call Manager Unit License for 7920 |  |  |  |  | 2 | 0
SW-CCM-UL-7912= | Call Manager Unit License for 7912 |  |  |  |  | 43 | 0
MC User Switches/Cable Drops/AP's (2 TX to MDF) 113 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 3 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 3 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 3 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 2 | 0
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 59 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 9 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 9 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 9 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 18 | 0
TC1 (2 SX to MDF) 99 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 2 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 2 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 2 | 0
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 36 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 6 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 6 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 6 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 12 | 0
TC2-B (1 SX to MDF, 1 SX to TC3, 1 TX to TC2-A(old) 1 SX to TC5) 45 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 3 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 3 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 1 | 0
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 30 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 5 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 5 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 5 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 10 | 0
TC2-A (1 TX to TC2-B) 40 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 1 | 0
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 0 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 0 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 0 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 0 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 0 | 0
TC3 (1 SX to TC2-B) 12 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 7 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 2 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 2 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 2 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 4 | 0
TC4 (2 SX to MDF) 4 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 4 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 1 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 2 | 0
TC5 (1 SX to TC2-B) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 10 | 0
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 1 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 2 | 0
Outdoor AP's for Courtyard Areas
AIR-BR1310G-A-K9 | Aironet 1310 Outdoor AP/Br w/ Integrated Antenna, FCC Config |  |  |  |  | 3 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 3 | 0
S131W7K9-12302JA | Cisco 1310 Series IOS WIRELESS LAN |  |  |  |  | 3 | 0
AIR-ACCRMK1300= | Aironet 1300 Roof Mount Kit |  |  |  |  | 3 | 0
| Subtotal | [5 empty] | 0

## Santa Rita Elementary Totals
Santa Rita Elementary
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all equipment and cabling. |  |  |  |  | 1 | 0
Installation | Install, configure, optimize, inventory all equipment and cabling listed. Remove and turn over to the District all replaced equipment. |  |  |  |  | 1 | 0
Network integration | Integrate all equipment into the District's present network. Take all actions necessary to make a turnkey installation of new equipment. |  |  |  |  | 1 | 0
Documentation | Provide documentation of all work, to include, equipment location, type, part number, serial number in Microsoft Visio 2003 Format |  |  |  |  | 1 | 0
UPS | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and ISF) capable of maintaining the equipment for 20 minutes |  |  |  |  | 1 | 0
Patch Panels and Racks | Install, all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution. |  |  |  |  | 1 | 0
MC - Core Switch & 24 10/100/1000 Core Service Module
WS-C4507R | Catalyst 4500 Chassis (7-Slot),fan, no p/s, Red Sup Capable |  |  |  |  | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  |  | 2 | 0
WS-X4515 | Catalyst 4500 Supervisor IV (2 GE),Console(RJ-45) |  |  |  |  | 1 | 0
WS-X4515/2 | Catalyst 4507R Redundant Supervisor IV,(2 GE),Console(RJ-45) |  |  |  |  | 1 | 0
S4KL3K9-12220EWA | Cisco IOS BASIC L3 Cat4500 SUP2+/4/5,3DES(RIP,St.Rts,IPX,AT) |  |  |  |  | 1 | 0
WS-X4506-GB-T | Catalyst 4500 6-Port 10/100/1000 PoE or SFP (Optional) |  |  |  |  | 2 | 0
WS-X4424-GB-RJ45 | Catalyst 4500 24-port 10/100/1000 Module (RJ45) |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 5 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 5 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
Rack | NEW RACK REQUIRED |  |  |  |  | 1 | 0
Voice Gateway Router
CISCO2811-SRST/K9 | 2811 Voice Bundle w/ PVDM2-16,FL-SRST-36,SP Serv,64F/256D |  |  |  |  | 1 | 0
S28NUESK9-12308T | Cisco 2800 IOS SPSK9-ESK9 FEAT SET FACTORY UPG FOR BUNDLES |  |  |  |  | 1 | 0
VIC-4FXS/DID | 4 port FXS or DID VIC |  |  |  |  | 1 | 0
VIC2-4FXO | Four-port Voice Interface Card - FXO (Universal) |  |  |  |  | 1 | 0
PWR-2811-AC-IP | Cisco 2811 AC/IP power supply |  |  |  |  | 1 | 0
CAB-AC | Power Cord,110V |  |  |  |  | 1 | 0
FL-SRST-36 | Feature Lic Survivable Remote Site Telephony up to 36 phones |  |  |  |  | 1 | 0
ROUTER-SDM | Device manager for routers |  |  |  |  | 1 | 0
PVDM2-16 | 16-Channel Packet Voice/Fax DSP Module |  |  |  |  | 1 | 0
MEM2800-256D-INC | 256MB DDR DRAM Memory factory default for the Cisco 2800 |  |  |  |  | 1 | 0
MEM2800-64CF-INC | 64MB CF default for Cisco 2800 Series |  |  |  |  | 1 | 0
Campus Voice Mail User Licenses
UNITY-VM-USR | One Unity VM User |  |  |  |  | 59 | 0
Campus Call Manager User Licenses
SW-CCM-UL-7960= | Call Manager Unit License for 7960 |  |  |  |  | 3 | 0
SW-CCM-UL-7940= | Call Manager Unit License for 7940 |  |  |  |  | 0 | 0
SW-CCM-UL-7920= | Call Manager Unit License for 7920 |  |  |  |  | 2 | 0
SW-CCM-UL-7912= | Call Manager Unit License for 7912 |  |  |  |  | 43 | 0
Workgroup Switches & Transceivers
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 7 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 7 | 0
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 4 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 4 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 8 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 4 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
CAB-STACK-3M= | Cisco StackWise 3M Stacking Cable |  |  |  |  | 0 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 11 | 0
Cabling & Cables
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 4 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 8 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 146 | 0
Wireless
AIR-AP1232AG-A-K9 | 802.11a/g dual radio IOS AP1200, FCC cfg |  |  |  |  | 24 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 24 | 0
S12W7K9-12302JA | Cisco 1200 Series IOS WIRELESS LAN |  |  |  |  | 24 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 48 | 0
AIR-BR1310G-A-K9 | Aironet 1310 Outdoor AP/Br w/ Integrated Antenna, FCC Config |  |  |  |  | 3 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 3 | 0
S131W7K9-12302JA | Cisco 1310 Series IOS WIRELESS LAN |  |  |  |  | 3 | 0
AIR-ACCRMK1300= | Aironet 1300 Roof Mount Kit |  |  |  |  | 3 | 0
| Subtotal | [5 empty] | 0