## Holiman Elementary Totals
Holiman Elementary
Equipment List
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price | If you are providing quotes for equipment with a different brand and/or model number other than the items listed on the spreadsheet, you must list the substituted equipment on the corresponding line for each item. For each item substitution, you must also provide information proving that the substitution meets or exceeds the specifications of the equipment listed on the quote request.
Project Management | Inspect, Oversee and Manage the completed installation of all equipment and cabling. |  |  |  | 0 | 1 | 0
Installation | Install, configure, optimize, inventory all equipment and cabling listed. Remove and turn over to the District all replaced equipment. |  |  |  | 0 | 1 | 0
Network integration | Integrate all equipment into the District's present network. Take all actions necessary to make a turnkey installation of new equipment. |  |  |  | 0 | 1 | 0
Documentation | Provide documentation of all work, to include, equipment location, type, part number, serial number in Microsoft Visio 2003 Format |  |  |  | 0 | 1 | 0
UPS | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and ISF) capable of maintaining the equipment for 20 minutes |  |  |  | 0 | 1 | 0
[5 empty] | 0 |  | 0 | Product Number | Product Description | Technical Specs & Info proving your substitution meets or exceeds equip specs | Comments
| MC Core Switch: 24 gig SFP(or 12 10gig X2), and 48 Gig copper(PoE) |  |  |  | 0 |  | 0
WS-C4506-E | Cat4500 E-Series 6-Slot Chassis, fan, no ps |  |  |  | 0 | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  | 0 | 2 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  | 0 | 2 | 0
CON-SNT-C4506E | SMARTNET 8X5XNBD Cat4500 E-Series 6-Slot Chassis, fan, no |  |  |  | 0 | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply (Data and PoE) |  |  |  | 0 | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply (Data and PoE) |  |  |  | 0 | 1 | 0
S45EESK9-12253SG | Cisco CAT4500E IOS ENTERPRISE SERVICES SSH |  |  |  | 0 | 1 | 0
WS-X45-SUP6-E | Catalyst 4500 E-Series Sup 6-E, 2x10GE(X2) w/ Twin Gig |  |  |  | 0 | 1 | 0
WS-X4606-X2-E | Catalyst 4500 E-Series 6-Port 10GbE (X2) |  |  |  | 0 | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  | 0 | 6 | 0
WS-X4606-X2-E | Catalyst 4500 E-Series 6-Port 10GbE (X2) |  |  |  | 0 | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  | 0 | 6 | 0
WS-X4648-RJ45V+E | Catalyst 4500 E-Series 48-Port PoE+ Ready 10/100/1000(RJ45) |  |  |  | 0 | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  | 0 | 20 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  | 0 | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  | 0 | 0 | 0
| Workgroup Switches & Transceivers |  |  |  | 0 |  | 0
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  | 0 | 8 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  | 0 | 8 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  | 0 | 8 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S |  |  |  | 0 | 8 | 0
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  | 0 | 8 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  | 0 | 8 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  | 0 | 8 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF |  |  |  | 0 | 8 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  | 0 | 22 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  | 0 | 0 | 0
GLC-T | 1000BASE-T SFP |  |  |  | 0 | 2 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  | 0 | 0 | 0
CAB-STACK-3M= | Cisco StackWise 3M Stacking Cable |  |  |  | 0 | 0 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  | 0 | 12 | 0
| Cabling & Cables |  |  |  | 0 |  | 0
| Wireless |  |  |  | 0 |  | 0
AIR-CT5508-50-K9 | 5508 Series Controller for up to 50 APs |  |  |  | 0 | 1 | 0
LIC-CT5508-50 | 50 AP Base license |  |  |  | 0 | 1 | 0
LIC-CT5508-BASE | Base Software License |  |  |  | 0 | 1 | 0
AIR-PWR-5500-AC | Cisco 5500 Series Wireless Controller Redundant Power Supply |  |  |  | 0 | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  | 0 | 2 | 0
CON-SNT-CT0850 | SMARTNET 8X5XNBD 5508 Series Controll |  |  |  | 0 | 1 | 0
SWC5500K9-60 | Cisco Unified Wireless Controller SW Release 6.0 |  |  |  | 0 | 1 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  | 0 | 15 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  | 0 | 15 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  | 0 | 15 | 0
AIR-LAP1522AG-A-K9 | 802.11a,b/g Outdoor Mesh AP, FCC Cfg |  |  |  | 0 | 3 | 0
SWLAP1520-IOS-K9 | 1520 Series AP Software Image - IOS |  |  |  | 0 | 3 | 0
AIR-ANT2480V-N | 2400-2483.5 MHz, 8.0 dBi Omni Ant. with N Connect |  |  |  | 0 | 9 | 0
AIR-ANT5180V-N | 4900-5850 MHz, 8.0 dBi Omni with N Connect |  |  |  | 0 | 3 | 0
CON-SNT-LAP152AA | SMARTNET 8X5XNBD 802.11a,b/g Outdoor Mesh AP, FCC Cfg |  |  |  | 0 | 3 | 0
AIR-PWR-ST-LT-R3P= | 1520 Series Street Light Power Tap, 4ft. |  |  |  | 0 | 2 | 0
AIR-PWRINJ1500-2= | 1520 Series Power Injector |  |  |  | 0 | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  | 0 | 1 | 0
AIR-ACCPMK-1520= | 1520 Series Pole Mount Kit |  |  |  | 0 | 3 | 0
| Subtotal | [5 empty] | 0

## Holiman Elementary Breakdown
Holiman Elementary
Breakdown spreadsheet is for INFORMATION PURPOSES ONLY and is included to provide bidders with the number of wiring closets at each campus and the quantity of services to be provided per closet. Please provide ALL PRICING on the TOTALS PAGE
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all equipment and cabling. |  |  |  |  | 1 | 0
Installation | Install, configure, optimize, inventory all equipment and cabling listed. Remove and turn over to the District all replaced equipment. |  |  |  |  | 1 | 0
Network integration | Integrate all equipment into the District's present network. Take all actions necessary to make a turnkey installation of new equipment. |  |  |  |  | 1 | 0
Documentation | Provide documentation of all work, to include, equipment location, type, part number, serial number in Microsoft Visio 2003 Format |  |  |  |  | 1 | 0
UPS | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and ISF) capable of maintaining the equipment for 20 minutes |  |  |  |  | 1 | 0
Patch Panels and Racks | Install, all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution. |  |  |  |  | 1 | 0
MC Core Switch: 24 gig SFP(or 12 10gig X2), and 48 Gig copper(PoE)
WS-C4506-E | Cat4500 E-Series 6-Slot Chassis, fan, no ps |  |  |  |  | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  |  | 2 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  |  | 2 | 0
CON-SNT-C4506E | SMARTNET 8X5XNBD Cat4500 E-Series 6-Slot Chassis, fan, no |  |  |  |  | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply (Data and PoE) |  |  |  |  | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply (Data and PoE) |  |  |  |  | 1 | 0
S45EESK9-12253SG | Cisco CAT4500E IOS ENTERPRISE SERVICES SSH |  |  |  |  | 1 | 0
WS-X45-SUP6-E | Catalyst 4500 E-Series Sup 6-E, 2x10GE(X2) w/ Twin Gig |  |  |  |  | 1 | 0
WS-X4606-X2-E | Catalyst 4500 E-Series 6-Port 10GbE (X2) |  |  |  |  | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  |  | 6 | 0
WS-X4606-X2-E | Catalyst 4500 E-Series 6-Port 10GbE (X2) |  |  |  |  | 1 | 0
CVR-X2-SFP | Cisco TwinGig Converter Module |  |  |  |  | 6 | 0
WS-X4648-RJ45V+E | Catalyst 4500 E-Series 48-Port PoE+ Ready 10/100/1000(RJ45) |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 16 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 16 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
Rack | NEW RACK REQUIRED |  |  |  |  | 1 | 0
MC User Switches/Cable Drops/AP's (2 TX to MDF) 126 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-T | 1000BASE-T SFP |  |  |  |  | 2 | 0
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 0 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 0 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 0 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 0 | 0
TC 1 (2 SX to MDF) 68 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 2 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 2 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 2 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 20 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 3 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 3 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 3 | 0
TC 2 (2 SX to MDF) 44 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 20 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 2 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 2 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 2 | 0
TC 3 (2 SX to MDF) 50 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 26 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 4 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 4 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 4 | 0
TC 4 (2 SX to MDF) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 10 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 5 (2 SX to MDF) 12 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 6 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 6 (2 SX to MDF) 20 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 1 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 7 (2 SX to MDF) 4 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 4 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 8 (2 SX to MDF) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 10 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 9 (2 SX to MDF) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  |  |  | 10 | 0
AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain |  |  |  |  | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  |  | 1 | 0
S114RK9W-12418JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
TC 9 (2 SX to MDF) 18 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP + IPB Image |  |  |  |  | 4 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 4 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 4 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 4 | 0
Outdoor AP's for Courtyard Areas
AIR-LAP1522AG-A-K9 | 802.11a,b/g Outdoor Mesh AP, FCC Cfg |  |  |  |  | 3 | 0
SWLAP1520-IOS-K9 | 1520 Series AP Software Image - IOS |  |  |  |  | 3 | 0
AIR-ANT2480V-N | 2400-2483.5 MHz, 8.0 dBi Omni Ant. with N Connect |  |  |  |  | 9 | 0
AIR-ANT5180V-N | 4900-5850 MHz, 8.0 dBi Omni with N Connect |  |  |  |  | 3 | 0
CON-SNT-LAP152AA | SMARTNET 8X5XNBD 802.11a,b/g Outdoor Mesh AP, FCC Cfg |  |  |  |  | 3 | 0
AIR-PWR-ST-LT-R3P= | 1520 Series Street Light Power Tap, 4ft. |  |  |  |  | 2 | 0
AIR-PWRINJ1500-2= | 1520 Series Power Injector |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
AIR-ACCPMK-1520= | 1520 Series Pole Mount Kit |  |  |  |  | 3 | 0
Wireless LAN Control Module (support 50 AP's)
AIR-CT5508-50-K9 | 5508 Series Controller for up to 50 APs |  |  |  |  | 1 | 0
LIC-CT5508-50 | 50 AP Base license |  |  |  |  | 1 | 0
LIC-CT5508-BASE | Base Software License |  |  |  |  | 1 | 0
AIR-PWR-5500-AC | Cisco 5500 Series Wireless Controller Redundant Power Supply |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 2 | 0
CON-SNT-CT0850 | SMARTNET 8X5XNBD 5508 Series Controll |  |  |  |  | 1 | 0
SWC5500K9-60 | Cisco Unified Wireless Controller SW Release 6.0 |  |  |  |  | 1 | 0
| Subtotal | [5 empty] | 0

## Holiman Maintenance
Holiman Elementary
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Level 1 Maintenance and Technical Support | Basic network support and configuration services for E-Rate eligible components |  |  |  | 0 | 32 | 0
Level 2 Maintenance and Technical Support | Advanced network support and configuration services for E-Rate eligible components |  |  |  | 0 | 16 | 0
CON-SNT-WS-C4507 | 8x5xNBD Svc^ Catalyst 4507R Series Modular Switch |  |  |  | 0 | 1 | 0
CON-SNT-C4506E | SMARTNET 8X5XNBD Cat4500 E-Series 6-Slot Chassis, fan, no |  |  |  | 0 | 1 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S |  |  |  | 0 | 8 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF |  |  |  | 0 | 8 | 0
CON-SNT-CT0850 | SMARTNET 8X5XNBD 5508 Series Controll |  |  |  | 0 | 1 | 0
CON-SNT-1142NAK | SMARTNET 8X5XNBD 802.11a/g/n Fixed Unified AP; Int Ant |  |  |  | 0 | 15 | 0
CON-SNT-LAP152AA | SMARTNET 8X5XNBD 802.11a,b/g Outdoor Mesh AP, FCC Cfg |  |  |  | 0 | 3 | 0
| Subtotal | [5 empty] | 0

## Holiman Cabling
Holiman Elementary
Product Number | Product Description | List Price | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all cabling. |  |  | 0 | 1 | 0
Installation | Install & configure all cabling & racks listed. Remove and turn over to the District all replaced equipment. |  |  | 0 | 1 | 0
Documentation | Provide documentation of all work, to include, drop location, type, etc in Microsoft Visio 2003 Format |  |  | 0 | 1 | 0
Patch Panels and Racks | Install, all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution. |  |  | 0 | 1 | 0
Patch Cable | CAT 6 Patch Cable |  |  | 0 | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  | 0 | 18 | 0
CAT 6 Cable Drop | Category 6 Cabling |  |  | 0 | 272 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  | 0 | 16 | 0
Rack | NEW RACK REQUIRED |  |  | 0 | 1 | 0
0