## Bonham Elementary Totals
Bonham Elementary
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all equipment and cabling. | 0 |  |  | 0 | 1 | 0
Installation | Install, configure, optimize, inventory and test all equipment installed. Connectivity and functionality testing of all components must be performed by an on-site equipment certified engineer. All equipment installed must have a District Asset Tag affixed. Remove and return all displaced items to the district. | 0 |  |  | 0 | 1 | 0
Documentation | Provide documentation of all work to include equipment location, type, part number, serial number in Microsoft Visio 2003 Format. Provide digital image in jpg format of each MC and TC upon completion of installation. | 0 | 0% |  | 0 | 1 | 0
Wireless | Convert any existing Access Points to Cisco LWAPP, import campus maps into configuration software and configure all Wireless LAN Controllers to provide for optimum wireless coverage, Rogue AP Detection and Location Tracking | 0 |  |  | 0 | 1 | 0
UPS | Uninterruptible Power Supplies (UPS), A rack mounted UPS is required for each closet (MC and TC) sized appropriately to maintain power to the equipment for a minimum of 20 minutes | 0 |  |  | 0 | 1 | 0
Cabling | All wiring must be done in accordance with San Angelo ISD wiring standards per attached document. ALL Patch cables must be clearly labeled on both ends with corresponding jack location. Drop count includes cabling for Wireless Access Points | 0 |  |  | 0 | 238 | 0
Patch Panels and Racks | Identify and install all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution, network equipment and UPS's. Where existing rack will not support UPS, additional rack must be specified. | 0 |  |  | 0 | 1 | 0
Level 1 Maintenance and Technical Support | Basic network support and configuration services for E-Rate eligible components | 0 |  |  | 0 | 32 | 0
Level 2 Maintenance and Technical Support | Advanced network support and configuration services for E-Rate eligible components | 0 |  |  | 0 | 16 | 0
MC Core Switch & 24 10/100/1000 Core Service Module
WS-C4507R-E | Cat4500 E-Series 7-Slot Chassis, fan, no ps, Red Sup Capable |  |  |  |  | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  |  | 2 | 0
WS-X45-SUP6-E | Catalyst 4500 E-Series Sup 6-E, 2x10GE(X2) w/ Twin Gig |  |  |  |  | 1 | 0
S45EESK9-12244SG | Cisco CAT4500E IOS ENTERPRISE SERVICES SSH |  |  |  |  | 1 | 0
WS-X4506-GB-T | Catalyst 4500 6-Port 10/100/1000 PoE or SFP (Optional) |  |  |  |  | 2 | 0
WS-X4524-GB-RJ45V | Catalyst 4500 PoE 802.3af 10/ 100/1000 24-ports (RJ45) |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 12 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 12 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
Rack | NEW RACK REQUIRED |  |  |  |  | 1 | 0
CON-SNT-C4507RE | SMARTNET 8X5XNBD WS-C4507R-E |  |  |  |  | 1 | 0
Workgroup Switches & Transceivers
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 8 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 8 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S |  | 0% |  |  | 8 | 0
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 4 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 4 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF |  | 0% |  |  | 4 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 11 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 2 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
CAB-STACK-3M= | Cisco StackWise 3M Stacking Cable |  |  |  |  | 0 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 12 | 0
Cabling & Cables
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 11 | 0
Wireless
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 26 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 26 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 26 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 26 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 52 | 0
CON-SNT-LAP1242A | SMARTNET 8X5XNBD 802.11ag LWAPP AP Dual 2.4 5GHz RP |  |  |  |  | 26 | 0
Wireless LAN Control Module (support 50 AP's)
AIR-WLC4402-50-K9 | 4400 Series WLAN Controller for up to 50 Lightweight APs |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
SWLC4400K9-40 | Cisco Unified Wireless Network Software Release 4.0 |  |  |  |  | 1 | 0
CON-SNT-WC440250 | SMARTNET 8X5XNBD 4402-50 WLAN Controller |  |  |  |  | 1 | 0
| Rooftop Access Point with Ethernet connection to network | [5 empty] | 0
AIR-LAP1510KITRO-A | Cisco Aironet 1500 Series Roof-Top Kit, 2.4 Omni 5GHz Omni |  |  |  |  | 1 | 0
AIR-LAP1510AG-A-K9 | Aironet 1510 Lt Wt Outdoor Mesh AP w/N Conn, FCC Cfg |  |  |  |  | 1 | 0
AIR-PWRINJ1500= | Aironet 1500 Power Injector |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
AIR-ETH1500-150= | Aironet 1500 Outdoor Ethernet Cable, 150 ft. |  |  |  |  | 1 | 0
AIR-ANT2455V-N= | 2.4 GHz, 5.5 dBi Omni Ant. with N Connect |  |  |  |  | 1 | 0
AIR-ANT5175V-N= | 4.9 GHz-5.8 GHz, 7.5 dBi Omni with N Connector |  |  |  |  | 1 | 0
CON-SNT-LAP1510A | SMARTNET 8X5XNBD Aironet 1510 Lt Wt Outdoor Mesh AP |  |  |  |  | 1 | 0
| Pole Top Access Point for outdoor access - talks back through Roof-Top AP | [5 empty] | 0
AIR-LAP1510KITP-A | Cisco Aironet 1500 Series Pole-Top Kit, 2.4 Omni 5 GHz OmniA |  |  |  |  | 2 | 0
AIR-PWR-ST-LT-TAP= | Aironet 1500 Street Light Power Tap, 105-260 VAC |  |  |  |  | 2 | 0
AIR-ANT2455V-N= | 2.4 GHz, 5.5 dBi Omni Ant. with N Connect |  |  |  |  | 2 | 0
AIR-ANT5175V-N= | 4.9 GHz-5.8 GHz, 7.5 dBi Omni with N Connector |  |  |  |  | 2 | 0
AIR-ACCPMK1500= | Aironet 1500 Pole Mount Kit |  |  |  |  | 2 | 0
AIR-LAP1510AG-A-K9 | Aironet 1510 Lt Wt Outdoor Mesh AP w/N Conn, FCC Cfg |  |  |  |  | 2 | 0
CON-SNT-LAP1510A | SMARTNET 8X5XNBD Aironet 1510 Lt Wt Outdoor Mesh AP |  |  |  |  | 2 | 0
| Subtotal | [5 empty] | 0

## Bonham Elementary Breakdown
Bonham Elementary
Breakdown spreadsheet is for INFORMATION PURPOSES ONLY and is included to provide bidders with the number of wiring closets at each campus and the quantity of services to be provided per closet. Please provide ALL PRICING on the TOTALS PAGE
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
MC Core Switch & 24 10/100/1000 Core Service Module
WS-C4507R-E | Cat4500 E-Series 7-Slot Chassis, fan, no ps, Red Sup Capable |  |  |  |  | 1 | 0
PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply with Inline Power |  |  |  |  | 1 | 0
CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug |  |  |  |  | 2 | 0
WS-X45-SUP6-E | Catalyst 4500 E-Series Sup 6-E, 2x10GE(X2) w/ Twin Gig |  |  |  |  | 1 | 0
S45EESK9-12244SG | Cisco CAT4500E IOS ENTERPRISE SERVICES SSH |  |  |  |  | 1 | 0
WS-X4506-GB-T | Catalyst 4500 6-Port 10/100/1000 PoE or SFP (Optional) |  |  |  |  | 2 | 0
WS-X4524-GB-RJ45V | Catalyst 4500 PoE 802.3af 10/ 100/1000 24-ports (RJ45) |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 12 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 12 | 0
GLC-LH-SM | GE SFP, LC connector LX/LH transceiver |  |  |  |  | 0 | 0
CAB-MCP-LC= | Mode Conditioning Patch cable; LC connector |  |  |  |  | 0 | 0
Rack | NEW RACK REQUIRED |  |  |  |  | 1 | 0
MC User Switches/Cable Drops/AP's (2 TX to MDF) 188 ports required (all drops currently terminated in TC4 will be reran to MC
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 4 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 4 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 4 | 0
GLC-T | 1000BASE-T SFP |  |  |  |  | 2 | 0
Patch Cable | CAT 6 Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 115 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 10 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 10 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 10 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 10 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 20 | 0
TC 1 (2 SX to MDF) 90 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 2 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 2 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 2 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 50 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 5 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 5 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 5 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 5 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 10 | 0
TC 2 (2 SX to MDF) 81 ports required
WS-C3750G-48PS-S | Catalyst 3750 48 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 2 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 2 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 2 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 2 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 2 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 45 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 5 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 5 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 5 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 5 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 10 | 0
TC 3 (1 SX to MC, SX to TC5/TC6/TC7) 12 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 4 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 4 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 4 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 1 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 2 | 0
TC 5 (1 SX to TC3) 4 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 4 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 1 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 1 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 2 | 0
TC 6 (1 SX to TC3) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 10 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 2 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 2 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 2 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 2 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 4 | 0
TC 7 (1 SX to TC3) 18 ports required
WS-C3750G-24PS-S | Catalyst 3750 24 10/100/1000T PoE + 4 SFP Standard Image |  |  |  |  | 1 | 0
CAB-STACK-50CM | Cisco StackWise 50CM Stacking Cable |  |  |  |  | 1 | 0
CAB-16AWG-AC | AC Power cord, 16AWG |  |  |  |  | 1 | 0
GLC-SX-MM | GE SFP, LC connector SX transceiver |  |  |  |  | 1 | 0
Patch Cable | LC-ST MMF Patch Cable |  |  |  |  | 1 | 0
CAT 6 Cable Drop | Category 6 Cabling - Requires Leviton Certified Manufactures Solution |  |  |  |  | 10 | 0
AIR-LAP1242AG-A-K9 | 802.11ag LWAPP AP Dual 2.4,5GHz RP-TNC FCC Cnfg |  |  |  |  | 2 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 2 | 0
S124RK9W-12311JX | Cisco 1240 Series IOS WIRELESS LAN LWAPP RECOVERY |  |  |  |  | 2 | 0
AIR-PWR-A | Pwr Sply In:100-240VAC Out:48VDC 380mA -1100,1130AG,1200,521 |  |  |  |  | 2 | 0
AIR-ANT4941 | 2.4 GHz,2.2 dBi Dipole Antenna w/ RP-TNC Connect. Qty. 1 |  |  |  |  | 4 | 0
Wireless LAN Control Module (support 50 AP's)
AIR-WLC4402-50-K9 | 4400 Series WLAN Controller for up to 50 Lightweight APs |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
SWLC4400K9-40 | Cisco Unified Wireless Network Software Release 4.0 |  |  |  |  | 1 | 0
CON-SNT-WC440250 | SMARTNET 8X5XNBD 4402-50 WLAN Controller |  |  |  |  | 1 | 0
Outdoor AP's for Courtyard Areas
| Rooftop Access Point with Ethernet connection to network | [5 empty] | 0
AIR-LAP1510KITRO-A | Cisco Aironet 1500 Series Roof-Top Kit, 2.4 Omni 5GHz Omni |  |  |  |  | 1 | 0
AIR-LAP1510AG-A-K9 | Aironet 1510 Lt Wt Outdoor Mesh AP w/N Conn, FCC Cfg |  |  |  |  | 1 | 0
AIR-PWRINJ1500= | Aironet 1500 Power Injector |  |  |  |  | 1 | 0
AIR-PWR-CORD-NA | AIR Line Cord North America |  |  |  |  | 1 | 0
AIR-ETH1500-150= | Aironet 1500 Outdoor Ethernet Cable, 150 ft. |  |  |  |  | 1 | 0
AIR-ANT2455V-N= | 2.4 GHz, 5.5 dBi Omni Ant. with N Connect |  |  |  |  | 1 | 0
AIR-ANT5175V-N= | 4.9 GHz-5.8 GHz, 7.5 dBi Omni with N Connector |  |  |  |  | 1 | 0
CON-SNT-LAP1510A | SMARTNET 8X5XNBD Aironet 1510 Lt Wt Outdoor Mesh AP |  |  |  |  | 1 | 0
| Pole Top Access Point for outdoor access - talks back through Roof-Top AP | [5 empty] | 0
AIR-LAP1510KITP-A | Cisco Aironet 1500 Series Pole-Top Kit, 2.4 Omni 5 GHz OmniA |  |  |  |  | 2 | 0
AIR-PWR-ST-LT-TAP= | Aironet 1500 Street Light Power Tap, 105-260 VAC |  |  |  |  | 2 | 0
AIR-ANT2455V-N= | 2.4 GHz, 5.5 dBi Omni Ant. with N Connect |  |  |  |  | 2 | 0
AIR-ANT5175V-N= | 4.9 GHz-5.8 GHz, 7.5 dBi Omni with N Connector |  |  |  |  | 2 | 0
AIR-ACCPMK1500= | Aironet 1500 Pole Mount Kit |  |  |  |  | 2 | 0
AIR-LAP1510AG-A-K9 | Aironet 1510 Lt Wt Outdoor Mesh AP w/N Conn, FCC Cfg |  |  |  |  | 2 | 0
CON-SNT-LAP1510A | SMARTNET 8X5XNBD Aironet 1510 Lt Wt Outdoor Mesh AP |  |  |  |  | 2 | 0

## Bonham Maintenance
Bonham Elementary
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Level 1 Maintenance and Technical Support | Basic network support and configuration services for E-Rate eligible components |  |  |  | 0 | 32 | 0
Level 2 Maintenance and Technical Support | Advanced network support and configuration services for E-Rate eligible components |  |  |  | 0 | 16 | 0
CON-SNT-C4507RE | SMARTNET 8X5XNBD WS-C4507R-E |  |  |  |  | 1 | 0
CON-SNT-3750G48P | SMARTNET 8X5XNBD Cat 3750 48 10/100/1000T PoE + 4 S |  | 0% |  |  | 8 | 0
CON-SNT-3750G24P | SMARTNET 8X5XNBD Cat 3750 24 10/100/1000T PoE + 4 SF |  | 0% |  |  | 4 | 0
CON-SNT-LAP1242A | SMARTNET 8X5XNBD 802.11ag LWAPP AP Dual 2.4 5GHz RP |  |  |  |  | 26 | 0
CON-SNT-WC440250 | SMARTNET 8X5XNBD 4402-50 WLAN Controller |  |  |  |  | 1 | 0
CON-SNT-LAP1510A | SMARTNET 8X5XNBD Aironet 1510 Lt Wt Outdoor Mesh AP |  |  |  |  | 3 | 0