## Totals
Central Freshman
If you are providing quotes for equipment with a different brand and/or model number other than the items listed on the spreadsheet, you must list the substituted equipment on the corresponding line for each item. For each item substitution, you must also provide information proving that the substitution meets or exceeds the specifications of the equipment listed on the quote request.
Product Name | Catalog Num | Description | Unit Price | Discount % | Final Price | Qty | Total Price | Subtotals by Equip. Type | Product Number | Product Description | Technical Specs & Info proving your substitution meets or exceeds equip specs | Comments | DrawingTotal | 0 | 1 | 6 | TotalRows | 35
AIR-ACCRMK1300= | AIR-ACCRMK1300= | Aironet 1300 Roof Mount Kit | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
AIR-BR1310G-A-K9 | AIR-BR1310G-A-K9 | Aironet 1310 Outdoor AP/Br w/ Integrated Antenna, FCC Config | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
AIR-PWR-CORD-NA | AIR-PWR-CORD-NA | AIR Line Cord North America | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
S114RK9W-12421JA | S114RK9W-12421JA | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
S131W7K9-12308JEA | S131W7K9-12308JEA | Cisco 1310 Series IOS WIRELESS LAN | 0 | 0 | 0 | 2 | 0 | 0 | [6 empty] | 1
C2960S-STACK | C2960S-STACK | Catalyst 2960S FlexStack Stack Module optional for LAN Base | 0 | 0 | 0 | 6 | 0 | [7 empty] | 1
C4500E-LB-ES | C4500E-LB-ES | Lan Base to Eneterprise Services paper license | 0 | 0 | 0 | 1 | 0 | [7 empty] | 1
CAB-16AWG-AC | CAB-16AWG-AC | AC Power cord, 16AWG | 0 | 0 | 0 | 11 | 0 | [7 empty] | 1
CAB-AC-2800W-TWLK | CAB-AC-2800W-TWLK | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug | 0 | 0 | 0 | 4 | 0 | [7 empty] | 1
CAB-STK-E-0.5M | CAB-STK-E-0.5M | Cisco FlexStack 50cm stacking cable | 0 | 0 | 0 | 6 | 0 | [7 empty] | 1
PWR-C45-2800ACV | PWR-C45-2800ACV | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
PWR-C45-2800ACV/2 | PWR-C45-2800ACV/2 | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
S45UK9-31-01XO | S45UK9-31-01XO | CAT4500e SUP7e Universal Crypto Image | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
SFP-10G-SR= | SFP-10G-SR= | 10GBASE-SR SFP Module | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
WS-C2960S-24PD-L | WS-C2960S-24PD-L | Catalyst 2960S 24 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 3 | 0 | [7 empty] | 1
WS-C2960S-48LPD-L | WS-C2960S-48LPD-L | Catalyst 2960S 48 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 8 | 0 | [7 empty] | 1
WS-C4510RE-S7+96V+ | WS-C4510RE-S7+96V+ | 4510R+E Chassis, Two WS-X4748-RJ45V+E, Sup7-E | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
WS-X45-SUP7-E | WS-X45-SUP7-E | Catalyst 4500 E-Series Supervisor, 848Gbps | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
WS-X4712-SFP+E | WS-X4712-SFP+E | Catalyst 4500 E-Series 12-Port 10GbE (SFP+) | 0 | 0 | 0 | 1 | 0 | [7 empty] | 1
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 4 | 0 | [7 empty] | 1
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 7 | 0 | 0 | [6 empty] | 1
CISCO BASE SUPPORT | CISCO BASE | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 26 | 0 | [7 empty] | 1
CISCO BASE SUPPORT | CISCO BASE | CISCO BASE Cat2960S Stk24 GigE PoE370W,2x10G LANBas | 0 | 0 | 0 | 3 | 0 | [7 empty] | 1
CISCO BASE SUPPORT | CISCO BASE | CISCO BASE Cat 2960S Stk48 GigE PoE 370W,2x10G LANB | 0 | 0 | 0 | 8 | 0 | [7 empty] | 1
CISCO BASE SUPPORT | CISCO BASE | CISCO BASE 4510R+E Chassis, Two WS-X4748-RJ45V+E | 0 | 0 | 0 | 2 | 0 | [7 empty] | 1
CISCO BASE SUPPORT | CISCO BASE | CISCO BASE Aironet 1310 Outdoor | 0 | 0 | 0 | 2 | 0 | 0 | [6 empty] | 1
| Cisco(US Dollar) | [5 empty] | 0 | 0 | [6 empty] | 0 |  |  |  | 0
| Total(US Dollar) | [5 empty] | 0
APC Smart-UPS 5000VA RM w/Transformer, 208V input and 120/208V Output | Large | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and IDF) capable of maintaining the equipment for 20 minutes | 0 | 0 | 0 | 2 | 0
APC Smart-UPS X 3000VA Rack/Tower LCD 100-127V with Network Card | Medium | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and IDF) capable of maintaining the equipment for 20 minutes | 0 | 0 | 0 | 2 | 0
APC Smart-UPS 1500VA LCD 120V | Small | Uninterruptible Power Supplies (UPS), A UPS for each closet (MDF and IDF) capable of maintaining the equipment for 20 minutes | 0 | 0 | 0 | 5 | 0 | 0
[7 empty] | 0 | 0

## MDF
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 4 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 4 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 4 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 4 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 4 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
SFP-10G-SR= | SFP-10G-SR= | Cisco | 10GBASE-SR SFP Module | 0 | 0 | 0 | 26 | 0 | 1
WS-C4510RE-S7+96V+ | WS-C4510RE-S7+96V+ | Cisco | 4510R+E Chassis, Two WS-X4748-RJ45V+E, Sup7-E | 0 | 0 | 0 | 1 | 0 | 2
WS-X45-SUP7-E | WS-X45-SUP7-E | Cisco | Catalyst 4500 E-Series Supervisor, 848Gbps | 0 | 0 | 0 | 1 | 0 | 2
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Cisco | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 2 | 0 | 2
C4500E-LB-ES | C4500E-LB-ES | Cisco | Lan Base to Eneterprise Services paper license | 0 | 0 | 0 | 1 | 0 | 2
CAB-AC-2800W-TWLK | CAB-AC-2800W-TWLK | Cisco | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 4510R+E Chassis, Two WS-X4748-RJ45V+E | 0 | 0 | 0 | 1 | 0 | 2
PWR-C45-2800ACV | PWR-C45-2800ACV | Cisco | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 1 | 0 | 2
PWR-C45-2800ACV/2 | PWR-C45-2800ACV/2 | Cisco | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 1 | 0 | 2
S45UK9-31-01XO | S45UK9-31-01XO | Cisco | CAT4500e SUP7e Universal Crypto Image | 0 | 0 | 0 | 1 | 0 | 2
WS-X4712-SFP+E | WS-X4712-SFP+E | Cisco | Catalyst 4500 E-Series 12-Port 10GbE (SFP+) | 0 | 0 | 0 | 1 | 0 | 2
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Cisco | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 3 | 0 | 2
| WS-C4510RE-S7+96V+ | [6 empty] | 0 | 1
| MDF(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC1
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 4 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 4 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 4 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 4 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 4 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C4510RE-S7+96V+ | WS-C4510RE-S7+96V+ | Cisco | 4510R+E Chassis, Two WS-X4748-RJ45V+E, Sup7-E | 0 | 0 | 0 | 1 | 0 | 2
WS-X45-SUP7-E | WS-X45-SUP7-E | Cisco | Catalyst 4500 E-Series Supervisor, 848Gbps | 0 | 0 | 0 | 1 | 0 | 2
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Cisco | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 2 | 0 | 2
CAB-AC-2800W-TWLK | CAB-AC-2800W-TWLK | Cisco | U.S. Power Cord, Twist Lock, NEMA 6-20 Plug | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 4510R+E Chassis, Two WS-X4748-RJ45V+E | 0 | 0 | 0 | 1 | 0 | 2
PWR-C45-2800ACV | PWR-C45-2800ACV | Cisco | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 1 | 0 | 2
PWR-C45-2800ACV/2 | PWR-C45-2800ACV/2 | Cisco | Catalyst 4500 2800W AC Power Supply (Data and PoE) | 0 | 0 | 0 | 1 | 0 | 2
S45UK9-31-01XO | S45UK9-31-01XO | Cisco | CAT4500e SUP7e Universal Crypto Image | 0 | 0 | 0 | 1 | 0 | 2
WS-X4748-RJ45V+E | WS-X4748-RJ45V+E | Cisco | Catalyst 4500E 48-Port PoE 802.3at 10/100/1000(RJ45) | 0 | 0 | 0 | 4 | 0 | 2
| WS-C4510RE-S7+96V+ | [6 empty] | 0 | 1
| MDF\TC1(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC2.Band
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 2 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 2 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-24PD-L | WS-C2960S-24PD-L | Cisco | Catalyst 2960S 24 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 1 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 1 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat2960S Stk24 GigE PoE370W,2x10G LANBas | 0 | 0 | 0 | 1 | 0 | 2
| WS-C2960S-24PD-L | [6 empty] | 0 | 1
| MDF\TC2.Band(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC3
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 5 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 5 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 5 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 5 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 5 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-48LPD-L | WS-C2960S-48LPD-L | Cisco | Catalyst 2960S 48 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 3 | 0 | 2
C2960S-STACK | C2960S-STACK | Cisco | Catalyst 2960S FlexStack Stack Module optional for LAN Base | 0 | 0 | 0 | 3 | 0 | 2
CAB-STK-E-0.5M | CAB-STK-E-0.5M | Cisco | Cisco FlexStack 50cm stacking cable | 0 | 0 | 0 | 3 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 3 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat 2960S Stk48 GigE PoE 370W,2x10G LANB | 0 | 0 | 0 | 3 | 0 | 2
| WS-C2960S-48LPD-L | [6 empty] | 0 | 1
| MDF\TC3(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC4
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 5 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 5 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 5 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 5 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 5 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-48LPD-L | WS-C2960S-48LPD-L | Cisco | Catalyst 2960S 48 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 3 | 0 | 2
C2960S-STACK | C2960S-STACK | Cisco | Catalyst 2960S FlexStack Stack Module optional for LAN Base | 0 | 0 | 0 | 3 | 0 | 2
CAB-STK-E-0.5M | CAB-STK-E-0.5M | Cisco | Cisco FlexStack 50cm stacking cable | 0 | 0 | 0 | 3 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 3 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat 2960S Stk48 GigE PoE 370W,2x10G LANB | 0 | 0 | 0 | 3 | 0 | 2
| WS-C2960S-48LPD-L | [6 empty] | 0 | 1
| MDF\TC4(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC5
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 2 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 2 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-48LPD-L | WS-C2960S-48LPD-L | Cisco | Catalyst 2960S 48 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 2 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat 2960S Stk48 GigE PoE 370W,2x10G LANB | 0 | 0 | 0 | 2 | 0 | 2
| WS-C2960S-48LPD-L | [6 empty] | 0 | 1
| MDF\TC5(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC6
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 1 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 1 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 1 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 1 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 1 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-24PD-L | WS-C2960S-24PD-L | Cisco | Catalyst 2960S 24 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 1 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 1 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat2960S Stk24 GigE PoE370W,2x10G LANBas | 0 | 0 | 0 | 1 | 0 | 2
| WS-C2960S-24PD-L | [6 empty] | 0 | 1
| MDF\TC6(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.Wireless Bridge
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-BR1310G-A-K9 | AIR-BR1310G-A-K9 | Cisco | Aironet 1310 Outdoor AP/Br w/ Integrated Antenna, FCC Config | 0 | 0 | 0 | 2 | 0 | 2
S131W7K9-12308JEA | S131W7K9-12308JEA | Cisco | Cisco 1310 Series IOS WIRELESS LAN | 0 | 0 | 0 | 2 | 0 | 2
AIR-ACCRMK1300= | AIR-ACCRMK1300= | Cisco | Aironet 1300 Roof Mount Kit | 0 | 0 | 0 | 2 | 0 | 2
AIR-PWR-CORD-NA | AIR-PWR-CORD-NA | Cisco | AIR Line Cord North America | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Aironet 1310 Outdoor | 0 | 0 | 0 | 2 | 0 | 2
| AIR-BR1310G-A-K9 | [6 empty] | 0 | 1
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 2 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 2 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 2 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 2 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
| MDF\Wireless Bridge(US Dollar) | [6 empty] | 0 | 0 | 0

## MDF.TC2.Athletics
Central Freshman
Name | Catalog Num | Vendor | Description | Unit Price | Discount % | Final Price | Qty | Total Price
AIR-LAP1142N-A-K9 | AIR-LAP1142N-A-K9 | Cisco | 802.11a/g/n Fixed Unified AP; Int Ant; A Reg Domain | 0 | 0 | 0 | 1 | 0 | 2
AIR-AP-BRACKET-1 | AIR-AP-BRACKET-1 | Cisco | 1040/1140/1260/3500 Low Profile Mounting Bracket (Default) | 0 | 0 | 0 | 1 | 0 | 2
AIR-AP-T-RAIL-R | AIR-AP-T-RAIL-R | Cisco | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | 0 | 0 | 0 | 1 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE 802.11a/g/n Fixed Unified AP; Int Ant | 0 | 0 | 0 | 1 | 0 | 2
S114RK9W-12421JA | S114RK9W-12421JA | Cisco | Cisco 1140 Series IOS WIRELESS LAN LWAPP RECOVERY | 0 | 0 | 0 | 1 | 0 | 2
| AIR-LAP1142N-A-K9 | [6 empty] | 0 | 1
WS-C2960S-24PD-L | WS-C2960S-24PD-L | Cisco | Catalyst 2960S 24 GigE PoE 370W, 2 x 10G SFP+ LAN Base | 0 | 0 | 0 | 1 | 0 | 2
CAB-16AWG-AC | CAB-16AWG-AC | Cisco | AC Power cord, 16AWG | 0 | 0 | 0 | 1 | 0 | 2
CISCO BASE | CISCO BASE | Cisco | CISCO BASE Cat2960S Stk24 GigE PoE370W,2x10G LANBas | 0 | 0 | 0 | 1 | 0 | 2
| WS-C2960S-24PD-L | [6 empty] | 0 | 1
| MDF\TC2.Athletics(US Dollar) | [6 empty] | 0 | 0 | 0
| Total(US Dollar) | [6 empty] | 0

## Cabling
Central Freshman Campus
Cabling
Product Number | Product Description | List Price | Promo % | Disc % | Unit Price | Qty | Extended Price
Project Management | Inspect, Oversee and Manage the completed installation of all cabling. |  |  |  | 0 | 1 | 0
Installation | Install & configure all cabling & racks listed. Remove and turn over to the District all replaced equipment. |  |  |  | 0 | 1 | 0
Documentation | Provide documentation of all work, to include, drop location, type, etc in Microsoft Visio 2007 Format |  |  |  | 0 | 1 | 0
Patch Panels and Racks | Install all necessary conduit, raceways, patch panels, racks and power poles to properly install the cabling solution. Rack or enclosure for main MDF/MC only is specified below, please add IDF/TC racks or enclosures as required by any additional cabling requirements. |  |  |  | 0 | 1 | 0
MDF/MC Rack | No Rack Change Required |  |  |  | 0 | 0 | 0
TC6 Cafeteria Rack | Wall Mounted Enclosure (Cafeteria TC6) |  |  |  | 0 | 1 | 0
MC Patch Cable | CAT 6 Patch Cable |  |  |  | 0 | 2 | 0
MC Patch Cable | LC-SC MMF Patch Cable |  |  |  | 0 | 8 | 0
TC Patch Cables (2 per TC except TC2 Athletics & TC6 have 1) | LC-SC MMF Patch Cable |  |  |  | 0 | 12 | 0
TC Patch Cables | CAT 6 Patch Cables (5 ft.) |  |  |  | 0 | 303 | 0
MDF | Category 6 Cabling |  |  |  |  | 70
TC1 | Category 6 Cabling |  |  |  |  | 73
TC3 | Category 6 Cabling |  |  |  |  | 55
TC4 | Category 6 Cabling |  |  |  |  | 64
TC5 | Category 6 Cabling |  |  |  |  | 16
TC2? Band Hall | Category 6 Cabling |  |  |  |  | 10
TC2? Athletics | Category 6 Cabling |  |  |  |  | 10
TC6 | Category 6 Cabling |  |  |  |  | 5
TOTAL | Category 6 Cabling - Requires Leviton Certified Manufacturer's Solution |  |  |  | 0 | 303 | 0
0
NOTE: All wiring must be done in accordance with San Angelo ISD wiring standards per attached document. ALL Patch cables must be clearly labeled on both ends with corresponding jack location. Drop count includes cabling for Wireless Access Points
Main Building requires Plenum Rated Cabling